Under packages – Residential – Basic Basic

* Basic
* Standard
* Premium

**Basic Basic**

Remove the whole statement which start with PLEASE NOTE

**Replace with**

Terms and Conditions -These are indicative budget price ranges and vary depending on the roof type and distance between the inverter area to the existing DB (this is applicable to all packages)

**What it can do for you (this heading should be underneath the main heading eg basic,standard n premium don’t repeat it on every package)**

Put the package description on the right side then put pictures on the left side

**Put the price at the bottom of the package and get a quote**

**Corrections on basic basic packages**

**Change headings for 500va n 1600 easy solar to**

500VA Victron Multi Plus Package

Victron 1600VA Easy Solar Package

**CORRECTIONS UNDER BASIC PACKAGES**

1. On what it can do for you point number 4 for the fridge change it to 1\*AA rated fridge
2. 3kw kodak package – on package item number 2 change it to US3000 Pylon tech lithium-ion battery rack
3. On 5kw kodak package - change heading to 5KW Kodak backup package

- on package items add AC&DC Protection

- 2.4kwh lithium-ion battery 5.9kwh

- 3.5kwh lithium-ion battery

**CORRECTIONS UNDER STANDARD PACKAGES**

1. On what it can do for you in front of point number 4 of the geyser write the phrase inverter dependent in brackets
2. 5kw kodak package - 2.4kwh lithium-ion battery 5.9kwh

* 3.5kwh lithium-ion battery
* Put pictures for the two batteries
* Picture for the battery rack

1. 5kw sunsyk Package - change heading to 5kw Sunsyk Backup package

* Remove the point back up on package items
* Add AC combiner box picture

1. 3kw Victron Package- change heading to 3KVA Victron Package

* On package items include AC&DC Protection

1. 5kw Victron package - change heading to 5KVA Victron Backup only package

* Put pictures of the AC Box and Cerbo GX

1. 5kw Kodak - on package items add AC&DC Protection

* Picture of DC box

1. 5kw Victron Package - change heading to 5KVA Victron 10.5KwH Backup package

* Add battery rack picture

1. 8KW Sunsynk package- change heading to 8kw Sunsynk Backup only package

* Add picture for AC Box

1. 3kw Victron Package - change heading to 3KVA Victron with 5kwh battery
2. 8kw Victron package - change heading to 8KVA Victron Backup Only Package

* Remove the point back up on package items

1. 4.6kw Goodwe package - remove the word backup on the 2nd point

* Add AC & DC protection on package items

1. Sunsynk 5kw 10kwh Freedom Won – Add pictures
2. 5kva Victron Package – remove the word Mono 405 on the 1st point

-change heading to 5KVA Victron Multi Plus 2

1. 7.2kw Victron Package - correct heading to 7.2KW Kodak with 10kwh battery package

**CORRECTIONS FOR PREMIUM PACKAGES**

1. 8KW Sunsynk package - change heading to 8kw Sunsynk 10kwh Freedom Won Package

- Add AC & DC protection on package items

1. 10kw kodak package – this one is fine
2. 8kw Victron Package - change heading to 8kva 10kwh freedom Won package

* Correct spelling for freedom Won on 2nd point

1. 10kva Victron - this one is fine
2. 15kw kodak package- change heading to 15KW Kodak 15kwh Freedom Won battery package